## Sheet1
Original Text | Translated Text | Previous Context
Geografische visualisatie van distributienetten | Geographical visualization of distribution networks
Het boek eindigt in hoofdstuk 16 met behandeling van nieuwe inzichten ten aanzien van de visualisatie van de distributienetten. De besproken visualisatietechnieken staan ten dienste van het ontwerpen en het bedrijfsvoeren van de netten. Ook op dit vlak gaan de ontwikkelingen snel, zodat alleen een globale beschrijving wordt gegeven. | The book concludes in chapter 16 with a discussion of new insights regarding the visualization of distribution networks. The visualization techniques discussed serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided. | Geographical visualization of distribution networks
16 Geografische visualisatie van distributienetten | 16 Geographic Visualization of Distribution Networks | of distribution networks. The visualization techniques discussed serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided.
16.1 Geografisch Informatie Systeem | 16.1 Geographic Information System | discussed serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided. 16 Geographic Visualization of Distribution Networks
16.2 Mogelijkheden door koppeling met kaartmateriaal en foto-ondergronden | 16.2 Possibilities through integration with map data and photographic backgrounds | and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System
16.3 Toepassingen | 16.3 Applications | also progressing rapidly, so only a general description is provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds
16.3.1 Planning | 16.3.1 Planning | rapidly, so only a general description is provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications
16.3.2 Netontwerp | 16.3.2 Network Design | only a general description is provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications 16.3.1 Planning
16.3.3 Bedrijfsvoering | 16.3.3 Operations | description is provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications 16.3.1 Planning 16.3.2 Network Design
16 Geografische visualisatie van distributienetten | 16 Geographic Visualization of Distribution Networks | provided. 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications 16.3.1 Planning 16.3.2 Network Design 16.3.3 Operations
16.1 Geografisch Informatie Systeem | 16.1 Geographic Information System | Networks 16.1 Geographic Information System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications 16.3.1 Planning 16.3.2 Network Design 16.3.3 Operations 16 Geographic Visualization of Distribution Networks
Statische en tevens geografisch gebonden gegevens over het net, zoals locaties van netstations en tracés van kabels, bewaren de netbeheerders in een Geografisch Informatie Systeem (GIS). Deze systemen waren ontwikkeld vanuit de functies van de tekenkamer, zodat de informatie traditioneel beperkt was tot de geografische gegevens. In de loop van tijd zijn deze systemen uitgebreid met logische en elektrotechnische gegevens van het net. Uiteindelijk is een GIS een op een database gebaseerd systeem dat alle gegevens met betrekking tot de statische bedrijfsmiddelen van de netbeheerder bevat. Indien een asset-manager een deel van het distributienet wil onderzoeken, haalt hij de benodigde informatie uit het GIS. De dynamische gegevens voor bedrijfsvoering en onderhoud worden niet in het GIS bijgehouden, maar in andere speciaal daarvoor ontwikkelde systemen. Deze systemen vormen samen met het GIS het uitgangspunt voor de planner, de netontwerper en de bedrijfsvoerder. | Static and geographically bound data about the network, such as locations of substations and cable routes, are stored by network operators in a Geographic Information System (GIS). These systems were initially developed from the functions of the drafting room, so the information was traditionally limited to geographic data. Over time, these systems have been expanded to include logical and electrical engineering data of the network. Ultimately, a GIS is a database-based system that contains all data related to the static assets of the network operator. If an asset manager wants to investigate a part of the distribution network, they retrieve the necessary information from the GIS. The dynamic data for operations and maintenance are not maintained in the GIS but in other specially developed systems. These systems, together with the GIS, form the basis for the planner, the network designer, and the operator. | System 16.2 Possibilities through integration with map data and photographic backgrounds 16.3 Applications 16.3.1 Planning 16.3.2 Network Design 16.3.3 Operations 16 Geographic Visualization of Distribution Networks 16.1 Geographic Information System
Door de geografische visualisatiemogelijkheden via internet is ook de geografische benadering van het ontwerpen en analyseren van distributienetten meer en meer in de belangstelling komen te staan. De populariteit ervan is ontstaan door het gemak waarmee men met de computer gegevens kan opzoeken en visualiseren op een kaartondergrond of op luchtfoto's. Ook de snelle opkomst van navigatieapparatuur en GPS speelt hierbij een rol. | Due to the geographic visualization capabilities via the internet, the geographic approach to designing and analyzing distribution networks has also gained more and more attention. Its popularity has arisen from the ease with which data can be searched and visualized on a map background or aerial photos using a computer. The rapid rise of navigation equipment and GPS also plays a role in this. | are not maintained in the GIS but in other specially developed systems. These systems, together with the GIS, form the basis for the planner, the network designer, and the operator.
Door de opzet en de organisatie zijn bestaande GIS systemen niet bijzonder flexibel en toegankelijk om de gegevens over elk willekeurig kabeltraject met de bijbehorende moffen op een kaartondergrond te raadplegen. Dit heeft te maken met de oorspronkelijke opzet van deze systemen voor gebruik door de GIS-expert. Bij modernisering van een GIS wordt deze toegankelijk gemaakt voor meerdere gebruikers en voor nieuwe applicaties en systemen. Koppeling van een nieuw GIS met software voor berekeningen en analyses van distributienetten is hiervan een voor de hand liggend voorbeeld. | Due to their setup and organization, existing GIS systems are not particularly flexible and accessible for consulting data on any arbitrary cable route with the associated joints on a map background. This is related to the original design of these systems for use by GIS experts. When modernizing a GIS, it is made accessible to multiple users and for new applications and systems. An obvious example of this is linking a new GIS with software for calculations and analyses of distribution networks. | data can be searched and visualized on a map background or aerial photos using a computer. The rapid rise of navigation equipment and GPS also plays a role in this.
16.2 Mogelijkheden door koppeling met kaartmateriaal en foto-ondergronden | 16.2 Possibilities through integration with maps and photo backgrounds | made accessible to multiple users and for new applications and systems. An obvious example of this is linking a new GIS with software for calculations and analyses of distribution networks.
Een GIS is niet ontworpen voor het uitvoeren van een loadflow- of kortsluitstroomberekening of om een netanalyse uit te voeren. De resultaten van zo een berekening kunnen niet met een op tekenkamerwerk gericht GIS gevisualiseerd worden. Bovendien is de presentatie van de objecten op de grootschalige basiskaart van dien aard dat presentatie van berekeningsresultaten niet doelmatig is voor een asset-manager of een ontwerper. Een asset-manager heeft onder andere de verantwoordelijkheid om de capaciteit en configuratieontwikkeling van distributienetten te bewaken en te sturen. De daartoe noodzakelijke ontwerpacties en netberekeningen worden binnen het netwerkbedrijf met een computerprogramma voor netanalyse uitgevoerd. Het zowel op geografische als op schematische wijze presenteren van een distributienet in een rekenomgeving levert daarbij vele voordelen. Figuur 16.1a toont een traditionele schematische presentatie van een stedelijk MS-net. De schematische presentatie is zodanig geordend dat er zo weinig mogelijk kruisingen in het netschema nodig zijn. | A GIS is not designed for performing load flow or short-circuit current calculations or for conducting a network analysis. The results of such calculations cannot be visualized with a GIS focused on drafting room work. Moreover, the presentation of objects on the large-scale base map is such that the presentation of calculation results is not efficient for an asset manager or a designer. An asset manager, among other things, is responsible for monitoring and directing the capacity and configuration development of distribution networks. The necessary design actions and network calculations are carried out within the network company using a computer program for network analysis. Presenting a distribution network both geographically and schematically in a calculation environment offers many advantages. Figure 16.1a shows a traditional schematic presentation of an urban medium-voltage network. The schematic presentation is arranged in such a way that as few crossings as possible are needed in the network diagram. | and systems. An obvious example of this is linking a new GIS with software for calculations and analyses of distribution networks. 16.2 Possibilities through integration with maps and photo backgrounds
Figuur 16.1a Schematische presentatie van een netwerk in een netanalyseprogramma | Figure 16.1a Schematic presentation of a network in a network analysis program | a traditional schematic presentation of an urban medium-voltage network. The schematic presentation is arranged in such a way that as few crossings as possible are needed in the network diagram.
Figuur 16.1b Geografische presentatie van een netwerk in een netanalyseprogramma | Figure 16.1b Geographical presentation of a network in a network analysis program | is arranged in such a way that as few crossings as possible are needed in the network diagram. Figure 16.1a Schematic presentation of a network in a network analysis program
De strengen zijn meestal weergegeven met rechte lijnen. Deze presentatie is nodig voor het goede begrip van het elektrotechnische gedrag en de mogelijkheden van het distributienet. Figuur 16.1b toont hetzelfde netwerkschema, maar nu geprojecteerd op een kaartondergrond. De netstations en kabels zijn door gebruik te maken van de geografische coördinaten (rijksdriehoekstelsel of geografische lengte- en breedtegraden) exact op de geografische ondergrond geplaatst. Ook de posities van de moffen worden exact weergegeven. Deze presentatie is nodig voor het beoordelen van de ruimtelijke mogelijkheden in het distributienet. De twee presentatievormen vullen elkaar aan in de informatiebehoefte. | The strands are usually represented with straight lines. This presentation is necessary for a proper understanding of the electrical behavior and the capabilities of the distribution network. Figure 16.1b shows the same network diagram, but now projected onto a map background. The network stations and cables are precisely placed on the geographical background using geographical coordinates (Dutch national grid or geographical longitude and latitude). The positions of the joints are also accurately represented. This presentation is necessary for assessing the spatial possibilities in the distribution network. The two forms of presentation complement each other in meeting the information needs. | are needed in the network diagram. Figure 16.1a Schematic presentation of a network in a network analysis program Figure 16.1b Geographical presentation of a network in a network analysis program
De nauwkeurigheid van de geografische presentatie wordt bepaald door de nauwkeurigheid waarmee de bedrijfsmiddelen zijn ingemeten en zijn opgeslagen in het GIS en door de nauwkeurigheid van de geografische ondergrond. Het komt bij gratis via internet verkrijgbare foto-ondergronden door gebrek aan nauwkeurigheid wel eens voor dat de kabels aan de verkeerde kant van de weg lijken te liggen. Commercieel verkrijgbare kaart- en foto-ondergronden hebben die onnauwkeurigheid niet. | The accuracy of the geographical presentation is determined by the precision with which the assets are measured and stored in the GIS and by the accuracy of the geographical base map. With free photo backgrounds available on the internet, it sometimes happens that cables appear to be on the wrong side of the road due to a lack of accuracy. Commercially available map and photo backgrounds do not have this inaccuracy. | are also accurately represented. This presentation is necessary for assessing the spatial possibilities in the distribution network. The two forms of presentation complement each other in meeting the information needs.
De vragen die een planner of ontwerper moet beantwoorden zijn onder andere: | The questions that a planner or designer must answer include: | happens that cables appear to be on the wrong side of the road due to a lack of accuracy. Commercially available map and photo backgrounds do not have this inaccuracy.
hoe is de bestaande netopbouw | what is the existing network structure | of the road due to a lack of accuracy. Commercially available map and photo backgrounds do not have this inaccuracy. The questions that a planner or designer must answer include:
waar bevinden zich de bestaande kabelverbindingen en moffen | where are the existing cable connections and splices located | lack of accuracy. Commercially available map and photo backgrounds do not have this inaccuracy. The questions that a planner or designer must answer include: what is the existing network structure
welke capaciteit is (nog) beschikbaar en hoe is de belastingverdeling in het netwerk | what capacity is (still) available and how is the load distribution in the network | do not have this inaccuracy. The questions that a planner or designer must answer include: what is the existing network structure where are the existing cable connections and splices located
waar zitten de knelpunten | where are the bottlenecks | include: what is the existing network structure where are the existing cable connections and splices located what capacity is (still) available and how is the load distribution in the network
waar kan ik zonder kunstwerken (water-, weg- of spoorkruisingen) nieuwe kabelverbindingen realiseren | where can I establish new cable connections without structures (water, road, or rail crossings) | existing network structure where are the existing cable connections and splices located what capacity is (still) available and how is the load distribution in the network where are the bottlenecks
welk geografische tracé is mogelijk om de gewenste toekomstige netstructuur met (nieuwe) diagonaal- of ringverbindingen te creëren. | which geographical route is possible to create the desired future network structure with (new) diagonal or ring connections. | is (still) available and how is the load distribution in the network where are the bottlenecks where can I establish new cable connections without structures (water, road, or rail crossings)
Zonder geografische presentatie worden deze vragen beantwoord door veelal handmatig gebruik te maken van afzonderlijke deels 'papieren' informatiebronnen. Er moet uit meerdere systemen informatie worden verzameld en geprint. Vervolgens moeten MS-kabelstrengen bijvoorbeeld met markeerstiften ingekleurd worden om een duidelijk overzicht te krijgen. | Without a geographical presentation, these questions are often answered manually using separate, partially 'paper-based' information sources. Information must be collected and printed from multiple systems. Then, for example, MS cable strands need to be colored with markers to get a clear overview. | I establish new cable connections without structures (water, road, or rail crossings) which geographical route is possible to create the desired future network structure with (new) diagonal or ring connections.
Indien een computerprogramma voor netanalyse wordt uitgebreid met de mogelijkheid van een geografische presentatie, eventueel aangevuld met foto-ondergrond en omgevingsfoto's, dan kan een planner of netontwerper efficiënter werken. Door gebruik te maken van een dergelijke voorziening krijgt hij direct een goed beeld van de situatie ter plaatse en is het vaak niet meer nodig om in het ontwerpstadium het gebied ter plaatse uitgebreid te schouwen. Met kleurgebruik en met andere grafische hulpmiddelen kunnen eigenschappen en berekeningsresultaten in de geografische weergave worden gepresenteerd. | If a network analysis computer program is expanded to include the capability for geographical presentation, possibly supplemented with photo backgrounds and environmental photos, a planner or network designer can work more efficiently. By using such a feature, they immediately get a clear picture of the local situation, often making it unnecessary to conduct extensive on-site inspections during the design phase. Properties and calculation results can be presented in the geographical display using color coding and other graphical tools. | partially 'paper-based' information sources. Information must be collected and printed from multiple systems. Then, for example, MS cable strands need to be colored with markers to get a clear overview.
Een net kan op verschillende schaalgroottes worden bekeken: op regionaal niveau (Figuur 16.4), op stedelijk en wijkniveau (Figuur 16.3) en op straatniveau. Figuur 16.2 laat een luchtfoto zien van de omgeving van een netstation. De kabels zijn met gekleurde lijnen weergegeven. De inzet toont een aanzicht van hetzelfde netstation, waarin de ligging van de kabels zijn weergegeven. De standplaats en de kijkrichting van de 'waarnemer' zijn in de luchtfoto aangegeven met een rode bol en een wijzer. De omgeving kan met het aanzichtbeeld verkend worden doordat de foto panoramisch is, waardoor elke kijkrichting mogelijk is. Ook kan eenvoudig een ander standpunt op enkele meters afstand gekozen worden. | A network can be viewed at different scales: at the regional level (Figure 16.4), at the city and neighborhood level (Figure 16.3), and at the street level. Figure 16.2 shows an aerial photo of the area around a substation. The cables are depicted with colored lines. The inset shows a view of the same substation, indicating the locations of the cables. The position and viewing direction of the 'observer' are marked on the aerial photo with a red dot and an arrow. The surroundings can be explored with the view image because the photo is panoramic, allowing for any viewing direction. Additionally, a different viewpoint a few meters away can be easily selected. | making it unnecessary to conduct extensive on-site inspections during the design phase. Properties and calculation results can be presented in the geographical display using color coding and other graphical tools.
Figuur 16.2 Foto-ondergrond en omgevingsfoto's helpen de planner en de netontwerper | Figure 16.2 Photo base and environmental photos assist the planner and the network designer | surroundings can be explored with the view image because the photo is panoramic, allowing for any viewing direction. Additionally, a different viewpoint a few meters away can be easily selected.
Niet alleen de asset-manager en de netontwerper profiteren hiervan. Zo kan ook doelmatig worden voorzien in de aanzienlijke toename in informatieverzoeken van derden zoals Energiekamer, gemeenten en individuele klanten. De tendens is dat netbeheerders steeds vaker en in korte tijdspannes willen beschikken over (geografische) informatie in relatie tot kwaliteit, netontwerp en berekeningsvraagstukken. | Not only the asset manager and the network designer benefit from this. It also allows for efficient handling of the significant increase in information requests from third parties such as the Energy Chamber, municipalities, and individual customers. The trend is that network operators increasingly want to have (geographical) information related to quality, network design, and calculation issues available within shorter time frames. | for any viewing direction. Additionally, a different viewpoint a few meters away can be easily selected. Figure 16.2 Photo base and environmental photos assist the planner and the network designer
Bij een dergelijke ontwikkeling speelt de performance van de geografische presentatie een grote rol bij de acceptatie door de eindgebruiker. De eindgebruiker moet in de grafische omgeving snel kunnen zoomen en schuiven zonder zich te ergeren aan trage schermopbouw. Moderne computers zijn snel genoeg en zijn in staat ook 3D presentaties van de netten en kaartondergrond te verwerken. Door de 3D presentatie is het mogelijk om als het ware over netten 'heen te vliegen' en gegevens in de derde dimensie op de kaart weer te geven. Zo kunnen staafjes gepresenteerd worden die de belasting op de MS-stations, het aantal aangesloten gebruikers of de belasting van de distributietransformator vertegenwoordigen. | In such a development, the performance of the geographical presentation plays a significant role in user acceptance. The end user must be able to quickly zoom and pan in the graphical environment without being frustrated by slow screen rendering. Modern computers are fast enough and capable of processing 3D presentations of the networks and map backgrounds. Through 3D presentation, it is possible to virtually "fly over" networks and display data in the third dimension on the map. For example, bars can be presented that represent the load on the MS stations, the number of connected users, or the load on the distribution transformer. | Chamber, municipalities, and individual customers. The trend is that network operators increasingly want to have (geographical) information related to quality, network design, and calculation issues available within shorter time frames.
16.3 Toepassingen | 16.3 Applications | dimension on the map. For example, bars can be presented that represent the load on the MS stations, the number of connected users, or the load on the distribution transformer.
Door geografische presentatiemogelijkheden toe te voegen aan programmatuur voor netanalyse, ontstaan diverse mogelijkheden voor planning, netontwerp en bedrijfsvoering: | By adding geographical presentation capabilities to network analysis software, various possibilities arise for planning, network design, and operations: | the map. For example, bars can be presented that represent the load on the MS stations, the number of connected users, or the load on the distribution transformer. 16.3 Applications
Planning | Planning | of connected users, or the load on the distribution transformer. 16.3 Applications By adding geographical presentation capabilities to network analysis software, various possibilities arise for planning, network design, and operations:
ruimtelijke ordening van voorzieningsgebieden (polygonen) | spatial planning of service areas (polygons) | connected users, or the load on the distribution transformer. 16.3 Applications By adding geographical presentation capabilities to network analysis software, various possibilities arise for planning, network design, and operations: Planning
bereikbaarheid van gebieden, kortste afstand tot onderstation, kruisingen van waterwegen | accessibility of areas, shortest distance to substation, crossings of waterways | the distribution transformer. 16.3 Applications By adding geographical presentation capabilities to network analysis software, various possibilities arise for planning, network design, and operations: Planning spatial planning of service areas (polygons)
capaciteits- en kwaliteitsknelpunten per regio | capacity and quality bottlenecks per region | to network analysis software, various possibilities arise for planning, network design, and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways
Netontwerp | Netontwerp | arise for planning, network design, and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region
bereikbaarheid, kruisingen | accessibility, crossings | for planning, network design, and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp
netbelastingberekeningen | netbelastingberekeningen | network design, and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings
kortsluitberekeningen | kortsluitberekeningen | design, and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen
storingsanalyses | storingsanalyses | and operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen
betrouwbaarheidsanalyses | betrouwbaarheidsanalyses | operations: Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses
Bedrijfsvoering | Bedrijfsvoering | Planning spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses
locaties van schakelhandelingen | locations of switching operations | spatial planning of service areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses Bedrijfsvoering
storingszoeken | storingszoeken | areas (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses Bedrijfsvoering locations of switching operations
power quality: kwaliteitsindicatoren relateren aan geografische ligging | power quality: quality indicators related to geographical location | (polygons) accessibility of areas, shortest distance to substation, crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses Bedrijfsvoering locations of switching operations storingszoeken
storingsherstel: foutplaatslokatie op de kaart tonen | fault recovery: show fault location on the map | crossings of waterways capacity and quality bottlenecks per region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses Bedrijfsvoering locations of switching operations storingszoeken power quality: quality indicators related to geographical location
preventief: via ontladingsmetingen zwakke plekken onderzoeken | preventive: investigate weak spots through discharge measurements | region Netontwerp accessibility, crossings netbelastingberekeningen kortsluitberekeningen storingsanalyses betrouwbaarheidsanalyses Bedrijfsvoering locations of switching operations storingszoeken power quality: quality indicators related to geographical location fault recovery: show fault location on the map
onderhoud plannen en coördineren met behulp van omgevingsfoto's | plan and coordinate maintenance using environmental photos | betrouwbaarheidsanalyses Bedrijfsvoering locations of switching operations storingszoeken power quality: quality indicators related to geographical location fault recovery: show fault location on the map preventive: investigate weak spots through discharge measurements
De toepassingsmogelijkheden worden hieronder met voorbeelden kort toegelicht. | The application possibilities are briefly explained below with examples. | power quality: quality indicators related to geographical location fault recovery: show fault location on the map preventive: investigate weak spots through discharge measurements plan and coordinate maintenance using environmental photos
16.3.1 Planning | 16.3.1 Planning | recovery: show fault location on the map preventive: investigate weak spots through discharge measurements plan and coordinate maintenance using environmental photos The application possibilities are briefly explained below with examples.
De eerste belangrijke toepassing is de koppeling van de ruimtelijke ordening en daarmee de concentraties van opwekking en belasting in de elektriciteitsvoorziening. Knelpunten met betrekking tot de netcapaciteit kunnen in beeld gebracht worden in relatie tot uitbreidingsplannen van overheid, industrie en projectontwikkelaars. | The first important application is the integration of spatial planning with the concentrations of generation and load in the electricity supply. Bottlenecks related to grid capacity can be visualized in relation to expansion plans by the government, industry, and project developers. | fault location on the map preventive: investigate weak spots through discharge measurements plan and coordinate maintenance using environmental photos The application possibilities are briefly explained below with examples. 16.3.1 Planning
Figuur 16.3 MS-strengen met netstations in een stedelijke omgeving | Figure 16.3 MV cables with substations in an urban environment | the concentrations of generation and load in the electricity supply. Bottlenecks related to grid capacity can be visualized in relation to expansion plans by the government, industry, and project developers.
Figuur 16.3 geeft een voorbeeld van een stedelijk distributienet. De geografische presentatie geeft extra inzicht vanuit welk onderstation een gebied het beste gevoed kan worden. De planner maakt zijn keuze op grond van het te transporteren vermogen, de afstand en de ruimtelijke mogelijkheden. Hierbij spelen de bereikbaarheid van de gebieden en kruisingen van bijzondere gebieden, zoals waterwegen, een belangrijke rol. | Figure 16.3 provides an example of an urban distribution network. The geographical presentation offers additional insight into which substation can best supply a given area. The planner makes their choice based on the power to be transported, the distance, and the spatial possibilities. In this process, the accessibility of the areas and crossings of special areas, such as waterways, play an important role. | Bottlenecks related to grid capacity can be visualized in relation to expansion plans by the government, industry, and project developers. Figure 16.3 MV cables with substations in an urban environment
Een hulpmiddel bij het plannen is het inkleuren van de voorzieningsgebieden van de MS-strengen. Figuur 16.4 geeft een voorbeeld van het gebruik van vlakverdelingen. De netstations en de MS-kabels zijn daarin weergegeven. Elke MS-streng, die uit een onderstation vertrekt, voedt een aantal netstations. Elk netstation is op de geografische ondergrond aangegeven met zijn coördinaten. Van elk netstation kan automatisch een gebied worden weergegeven dat ongeveer overeenkomt met het gebied van het te voeden LS-net. Deze gebiedjes zijn afgebakend met rechte lijnen, die loodrecht staan op de lijnen die twee dichtbij gelegen netstations met elkaar verbinden. De loodlijnen bevinden zich telkens halverwege tussen twee netstations. Op de snijpunten van de loodlijnen ontstaan de hoeken van de gebiedjes. Deze gebiedjes worden in de meetkunde Voronoi-cellen genoemd. Alle Voronoi-cellen rondom de netstations die to één MS-streng behoren, zijn in figuur 16.4 met dezelfde kleur ingevuld. | A tool for planning is coloring the service areas of the MV strings. Figure 16.4 provides an example of the use of area distributions. The substations and MV cables are depicted therein. Each MV string, which departs from a substation, feeds several substations. Each substation is indicated on the geographic map with its coordinates. From each substation, an area can be automatically displayed that approximately corresponds to the area of the LV network to be fed. These areas are delineated with straight lines that are perpendicular to the lines connecting two nearby substations. The perpendicular lines are located halfway between two substations. At the intersections of the perpendicular lines, the corners of the areas are formed. These areas are called Voronoi cells in geometry. All Voronoi cells around the substations that belong to one MV string are filled with the same color in Figure 16.4. | power to be transported, the distance, and the spatial possibilities. In this process, the accessibility of the areas and crossings of special areas, such as waterways, play an important role.
Figuur 16.4 Vlakverdeling van MS-voedingsgebieden | Figure 16.4 Area Distribution of MV Supply Zones | formed. These areas are called Voronoi cells in geometry. All Voronoi cells around the substations that belong to one MV string are filled with the same color in Figure 16.4.
Door het gebied ruimtelijk te bekijken, verkrijgt de planner snel een inzicht in de verdeling van de belastingen. Figuur 16.5 geeft een voorbeeld van een 3D presentatie op een foto-ondergrond van een deel van het MS-net, waarvan de belastingen op de netstations met een staafdiagram zijn weergegeven. Ook in deze weergave kunnen kleuren gekoppeld worden aan de MS-strengen. Met deze weergave overziet de planner het gebied in vogelvlucht en ziet hij in één oogopslag waar zich de grote belastingsconcentraties bevinden. | By viewing the area spatially, the planner quickly gains insight into the distribution of the loads. Figure 16.5 provides an example of a 3D presentation on a photo background of a part of the MV network, where the loads on the substations are represented with a bar chart. In this view, colors can also be associated with the MV strings. With this view, the planner can oversee the area from a bird's-eye perspective and see at a glance where the major load concentrations are located. | geometry. All Voronoi cells around the substations that belong to one MV string are filled with the same color in Figure 16.4. Figure 16.4 Area Distribution of MV Supply Zones
Figuur 16.5 3D presentatie van netwerk op foto-ondergrond met 3D staafgrafiek van belasting op de netstations | Figure 16.5 3D presentation of the network on a photo background with a 3D bar chart of the load on the substations | associated with the MV strings. With this view, the planner can oversee the area from a bird's-eye perspective and see at a glance where the major load concentrations are located.
16.3.2 Netontwerp | 16.3.2 Network Design | glance where the major load concentrations are located. Figure 16.5 3D presentation of the network on a photo background with a 3D bar chart of the load on the substations
Door een koppeling tussen het GIS en het netwerkbestand kunnen de resultaten van netwerkberekeningen geografisch worden gepresenteerd. Na het uitvoeren van een loadflowberekening kunnen overschrijdingen van spanningsgrenzen en van kabelbelastingen met behulp van kleuren in beeld worden gebracht. Figuur 16.6 laat zien hoe de secundaire spanning van de distributietransformatoren in de netstations kan worden geanalyseerd. Indien de spanning zich binnen een opgegeven spanningsband bevindt, wordt deze met een groene kleur weergegeven, anders met rood. | By linking the GIS with the network file, the results of network calculations can be presented geographically. After performing a load flow calculation, violations of voltage limits and cable loads can be visualized using colors. Figure 16.6 shows how the secondary voltage of the distribution transformers in the substations can be analyzed. If the voltage is within a specified voltage band, it is displayed in green; otherwise, it is shown in red. | major load concentrations are located. Figure 16.5 3D presentation of the network on a photo background with a 3D bar chart of the load on the substations 16.3.2 Network Design
Figuur 16.6 Kleurindicatie secundaire spanning van distributietransformatoren | Figure 16.6 Color Indication of Secondary Voltage of Distribution Transformers | of the distribution transformers in the substations can be analyzed. If the voltage is within a specified voltage band, it is displayed in green; otherwise, it is shown in red.
Met een instelbaar bandfilter kunnen knelpunten van alle beschouwde aspecten direct in beeld worden gebracht en gerelateerd worden aan een locatie. In figuur 16.6 is dit het niet voldoen aan een door de gebruiker ingestelde spanningsband. Ook kunnen de kabelbelastingen en alle power quality-aspecten op deze manier worden weergegeven. | With an adjustable band filter, bottlenecks of all considered aspects can be directly visualized and related to a location. In Figure 16.6, this is the failure to meet a user-defined voltage band. Cable loads and all power quality aspects can also be displayed in this manner. | If the voltage is within a specified voltage band, it is displayed in green; otherwise, it is shown in red. Figure 16.6 Color Indication of Secondary Voltage of Distribution Transformers
Door het gebruik van moderne techniek behoort het animeren van beelden ook tot de mogelijkheden. Zo kunnen berekeningsresultaten met belastingprofielen als een film (in de tijd) worden afgespeeld. Figuur 16.7 laat zien hoe de belasting van netstations wordt weergegeven als een gekleurde 'zuiger' in een kolom waarvan de hoogte correspondeert met het nominale vermogen van de distributietransformator. Na het berekenen van een loadflow met tijdgerelateerde profielen voor alle belastingen en opwekkers, kunnen de resultaten als functie van de tijd worden weergegeven. Dit kan worden gecombineerd met een in tijd variërende kleurindicatie van de kabelbelastingen: groen voor licht belast tot rood voor zwaar belast. | By using modern technology, animating images is also possible. For example, calculation results with load profiles can be played back as a film (over time). Figure 16.7 shows how the load of network stations is displayed as a colored 'piston' in a column, where the height corresponds to the nominal power of the distribution transformer. After calculating a load flow with time-related profiles for all loads and generators, the results can be displayed as a function of time. This can be combined with a time-varying color indication of the cable loads: green for lightly loaded to red for heavily loaded. | to a location. In Figure 16.6, this is the failure to meet a user-defined voltage band. Cable loads and all power quality aspects can also be displayed in this manner.
Figuur 16.7 Moment van de belasting op netstations en in kabels als functie van de tijd | Figure 16.7 Load moment on substations and in cables as a function of time | can be displayed as a function of time. This can be combined with a time-varying color indication of the cable loads: green for lightly loaded to red for heavily loaded.
Ook de resultaten van het berekende kortsluitvermogen op de knooppunten kunnen ruimtelijk worden weergegeven. Goed zichtbaar wordt dan hoe het kortsluitvermogen met toenemende afstand tot het onderstation afneemt. Bij het in beeld brengen van de power quality-aspecten kan gebruik worden gemaakt van de definities van de kleuren in de kwalificatiemethode ( | The results of the calculated short-circuit power at the nodes can also be displayed spatially. It then becomes clearly visible how the short-circuit power decreases with increasing distance from the substation. When visualizing the power quality aspects, the definitions of the colors in the qualification method can be used. | time-varying color indication of the cable loads: green for lightly loaded to red for heavily loaded. Figure 16.7 Load moment on substations and in cables as a function of time
paragraaf 11.7 | paragraph 11.7 | visible how the short-circuit power decreases with increasing distance from the substation. When visualizing the power quality aspects, the definitions of the colors in the qualification method can be used.
). | ). | the short-circuit power decreases with increasing distance from the substation. When visualizing the power quality aspects, the definitions of the colors in the qualification method can be used. paragraph 11.7
16.3.3 Bedrijfsvoering | 16.3.3 Operations | short-circuit power decreases with increasing distance from the substation. When visualizing the power quality aspects, the definitions of the colors in the qualification method can be used. paragraph 11.7 ).
Bij de keuzes van locaties van schakelhandelingen kunnen door toevoeging van de geografische informatie ook ruimtelijke inzichten een meer prominente rol gaan spelen. Vooral bij het zoeken van een storingslocatie kan tijdwinst worden geboekt door gebruik te maken van de geografische informatie. Door kennis van de ruimtelijke spreiding van de netstations kunnen aanrijtijden geoptimaliseerd worden. En door combinatie van de panoramische omgevingsfoto's kan de storingsdienst in relatief onbekend gebied doelmatig geïnformeerd worden over de situatie ter plekke. Indien een systeem voor foutplaatslokalisatie (paragraaf 10.7) aanwezig is, kan het berekende kabelsegment zowel schematisch als geografisch in beeld worden gebracht (Figuur 16.8a en b). | When choosing locations for switching operations, the addition of geographic information can also give spatial insights a more prominent role. Especially when searching for a fault location, time can be saved by using geographic information. By knowing the spatial distribution of the substations, response times can be optimized. Additionally, by combining panoramic environmental photos, the emergency service can be effectively informed about the situation on-site in relatively unfamiliar areas. If a fault location system (paragraph 10.7) is available, the calculated cable segment can be displayed both schematically and geographically (Figure 16.8a and b). | decreases with increasing distance from the substation. When visualizing the power quality aspects, the definitions of the colors in the qualification method can be used. paragraph 11.7 ). 16.3.3 Operations
Figuur 16.8a Foutplaatsindicatie: schematisch | Figure 16.8a Fault Location Indication: Schematic | situation on-site in relatively unfamiliar areas. If a fault location system (paragraph 10.7) is available, the calculated cable segment can be displayed both schematically and geographically (Figure 16.8a and b).
Figuur 16.8b Foutplaatsindicatie: geografisch | Figure 16.8b Fault Location Indication: Geographical | If a fault location system (paragraph 10.7) is available, the calculated cable segment can be displayed both schematically and geographically (Figure 16.8a and b). Figure 16.8a Fault Location Indication: Schematic
Ook preventief kan bekeken worden of ontladingen in een kabel aanleiding geven tot een reparatie. Figuur 16.9 geeft een voorbeeld van ontladingsmetingen aan een kabel, weergegeven als functie van de tijd. De gemeten ontladingen worden per dag gestapeld en gekleurd weergegeven op het kabeltracé. Groene en gele kleuren staan voor weinig tot lage ontladingsdichtheid. Oranje en rood staan voor hoge tot zeer hoge ontladingsdichtheid. Door in te zoomen op een probleemgebied kan worden beoordeeld of wellicht externe factoren oorzaak zijn van de hoge ontladingsdichtheid. Een externe factor kan bijvoorbeeld een verzakte wegkruising of een verdrukking door boomwortels zijn. In zo een geval bieden met name de panoramische omgevingsfoto's veel extra informatie. | It is also possible to preventively check whether discharges in a cable necessitate a repair. Figure 16.9 provides an example of discharge measurements on a cable, displayed as a function of time. The measured discharges are stacked and color-coded per day on the cable route. Green and yellow colors indicate low to very low discharge density. Orange and red indicate high to very high discharge density. By zooming in on a problem area, it can be assessed whether external factors might be causing the high discharge density. An external factor could be, for example, a subsided road crossing or compression by tree roots. In such a case, panoramic environmental photos offer a lot of additional information. | 10.7) is available, the calculated cable segment can be displayed both schematically and geographically (Figure 16.8a and b). Figure 16.8a Fault Location Indication: Schematic Figure 16.8b Fault Location Indication: Geographical
Figuur 16.9 Ontladingsmetingen aan een kabeltracé, weergegeven in de tijd | Figure 16.9 Discharge measurements on a cable route, displayed over time | density. An external factor could be, for example, a subsided road crossing or compression by tree roots. In such a case, panoramic environmental photos offer a lot of additional information.
Tenslotte krijgt bedrijfsvoering door koppelen van metingen inzicht in de mogelijke oorzaken van een mogelijke verslechtering van de Power Quality van het net. De ruimtelijke informatie kan een hint geven of de verslechtering door een specifiek bedrijf zou kunnen worden veroorzaakt. Op die manier kan een meting meer doelgericht worden opgezet. | Finally, by linking measurements, operations gain insight into the possible causes of a potential deterioration in the Power Quality of the network. The spatial information can provide a hint as to whether the deterioration could be caused by a specific company. This way, a measurement can be set up more purposefully. | crossing or compression by tree roots. In such a case, panoramic environmental photos offer a lot of additional information. Figure 16.9 Discharge measurements on a cable route, displayed over time