## Sheet1
Original Text | Translated Text | Previous Context
Waarom dit boek? | Why this book?
In de netten voor elektriciteitsdistributie op midden- en laagspanningsniveau gaan, gedreven door ontwikkelingen op technisch en maatschappelijk vlak, veel veranderingen plaatsvinden. Hieraan wordt internationaal veel aandacht besteed in boeken, in publicaties en op congressen zoals de tweejaarlijkse CIRED. Zo ook zal in de Nederlandse netten veel gaan veranderen. Specialisten op het gebied van de elektriciteitsvoorziening zijn zich hierop aan het voorbereiden. | In the networks for electricity distribution at medium and low voltage levels, driven by developments on both technical and societal fronts, many changes are going to take place. This is receiving a lot of international attention in books, publications, and at conferences such as the biennial CIRED. Similarly, many changes will occur in the Dutch networks. Specialists in the field of electricity supply are preparing for this. | Why this book?
De Nederlandse situatie wijkt op een aantal punten af van de situatie in het buitenland. Zo is in ons dichtbevolkte land de concentratie van belastingen en productie-eenheden vrij groot en is het distributienet bijna geheel in ondergrondse kabels uitgevoerd. Ook is de combinatie van gas en elektriciteit voor de energiebehoefte van de aangeslotenen vrij uniek. Zo heeft de ruime beschikbaarheid van gas de opmars van warmte/krachtkoppeling voor zowel groot- als kleinverbruikers mogelijk gemaakt. | The Dutch situation differs in several respects from the situation abroad. In our densely populated country, the concentration of loads and production units is quite high, and the distribution network is almost entirely implemented with underground cables. Additionally, the combination of gas and electricity for the energy needs of the connected users is quite unique. The ample availability of gas has enabled the rise of combined heat and power (CHP) for both large and small consumers. | books, publications, and at conferences such as the biennial CIRED. Similarly, many changes will occur in the Dutch networks. Specialists in the field of electricity supply are preparing for this.
In de Nederlandse taal is weinig recent naslagmateriaal beschikbaar dat specifiek ingaat op de elektriciteitsvoorziening in de Nederlandse situatie. Een goede beschrijving van de Nederlandse openbare elektriciteitsdistributienetten dateert uit de vorige eeuw (EnergieNed, 1996). Dit boek probeert hier verandering in te brengen. Het geeft een actueel overzicht van de opbouw en de samenstelling van openbare elektriciteitsnetten in Nederland. Bij het samenstellen is zoveel mogelijk recent referentiemateriaal gebruikt. Het boek is geschreven als naslagwerk voor specialisten in de elektriciteitsvoorziening en voor studenten van hoger beroeps niveau en van universitair niveau. | In the Dutch language, there is little recent reference material available that specifically addresses the electricity supply in the Dutch context. A good description of the Dutch public electricity distribution networks dates back to the previous century (EnergieNed, 1996). This book aims to change that. It provides a current overview of the structure and composition of public electricity networks in the Netherlands. In its compilation, as much recent reference material as possible has been used. The book is written as a reference work for specialists in electricity supply and for students at higher vocational and university levels. | energy needs of the connected users is quite unique. The ample availability of gas has enabled the rise of combined heat and power (CHP) for both large and small consumers.
Opbouw van het boek | Structure of the book | recent reference material as possible has been used. The book is written as a reference work for specialists in electricity supply and for students at higher vocational and university levels.
Dit boek bestaat uit drie delen. Het eerste deel geeft een beschrijving van de distributienetten betreffende hun structuur, belasting, opwekking, componenten, veiligheid en beveiliging. Het tweede deel concentreert zich op het rekenen aan een net. Hierbij komen de modellen aan de orde, alsmede de berekening van de toestand van het net in normaal bedrijf, kortsluitstromen, spanningskwaliteit en betrouwbaarheid. Het derde deel gaat in op het ontwerpen en het bedrijfsvoeren van de distributienetten. | This book consists of three parts. The first part provides a description of distribution networks concerning their structure, load, generation, components, safety, and protection. The second part focuses on network calculations. This includes the models, as well as the calculation of the network's state in normal operation, short-circuit currents, voltage quality, and reliability. The third part addresses the design and operation of distribution networks. | possible has been used. The book is written as a reference work for specialists in electricity supply and for students at higher vocational and university levels. Structure of the book
Deel 1: De opbouw van een net | Part 1: The structure of a network | models, as well as the calculation of the network's state in normal operation, short-circuit currents, voltage quality, and reliability. The third part addresses the design and operation of distribution networks.
Hoofdstuk 2 | Chapter 2 | the network's state in normal operation, short-circuit currents, voltage quality, and reliability. The third part addresses the design and operation of distribution networks. Part 1: The structure of a network
behandelt de netten en hun structuren. Hierin komen eerst de verschillen tussen transport en distributie aan de orde. Ook de stations worden in dit hoofdstuk besproken. De structuren van de meeste in Nederland toegepaste midden- en laagspanningsnetten worden toegelicht. Het hoofdstuk besluit met de beschrijving van de aansluitingen voor de diverse aansluitcategorieën. | addresses the networks and their structures. It first discusses the differences between transmission and distribution. The chapter also covers the stations. The structures of most medium- and low-voltage networks used in the Netherlands are explained. The chapter concludes with a description of the connections for the various connection categories. | state in normal operation, short-circuit currents, voltage quality, and reliability. The third part addresses the design and operation of distribution networks. Part 1: The structure of a network Chapter 2
Hoofdstuk 3 | Chapter 3 | the stations. The structures of most medium- and low-voltage networks used in the Netherlands are explained. The chapter concludes with a description of the connections for the various connection categories.
gaat uitgebreid in op de belastingen en de opwekking van het elektrische vermogen. Hierbij wordt aandacht besteed aan het lange, middellange en korte termijngedrag van de belasting. Met name voor de korte termijn wordt het stochastische gedrag van de belasting toegelicht. Verder worden nieuwe ontwikkelingen op het gebied van verbruik en decentrale opwekking toegelicht. | goes into detail about the loads and the generation of electrical power. Attention is given to the long-term, medium-term, and short-term behavior of the load. Specifically, the stochastic behavior of the load in the short term is explained. Additionally, new developments in the areas of consumption and decentralized generation are discussed. | The structures of most medium- and low-voltage networks used in the Netherlands are explained. The chapter concludes with a description of the connections for the various connection categories. Chapter 3
De meest gebruikte componenten in de MS- en LS-netten worden beschreven in | The most commonly used components in the medium-voltage (MV) and low-voltage (LV) networks are described in | behavior of the load. Specifically, the stochastic behavior of the load in the short term is explained. Additionally, new developments in the areas of consumption and decentralized generation are discussed.
hoofdstuk 4 | chapter 4 | explained. Additionally, new developments in the areas of consumption and decentralized generation are discussed. The most commonly used components in the medium-voltage (MV) and low-voltage (LV) networks are described in
. Hieronder vallen onder andere kabels, moffen, transformatoren, smoorspoelen, vermogenschakelaars, schakelinstallaties en smeltveiligheden. | . These include cables, joints, transformers, inductors, circuit breakers, switchgear, and fuses. | new developments in the areas of consumption and decentralized generation are discussed. The most commonly used components in the medium-voltage (MV) and low-voltage (LV) networks are described in chapter 4
Hoofdstuk 5 | Chapter 5 | The most commonly used components in the medium-voltage (MV) and low-voltage (LV) networks are described in chapter 4 . These include cables, joints, transformers, inductors, circuit breakers, switchgear, and fuses.
beschrijft de aardingsconcepten en de veiligheid in de distributienetten. Op deze netten worden de installaties van de klanten aangesloten, waardoor het aspect van de veiligheid bijzondere aandacht verdient. Naast de beveiligingsconcepten wordt aandacht besteed aan de aanrakingsveiligheid tijdens kortsluitingen in het laag- of middenspanningsnet. | describes the grounding concepts and safety in the distribution networks. Customer installations are connected to these networks, which makes the aspect of safety particularly important. In addition to the protection concepts, attention is given to touch safety during short circuits in the low- or medium-voltage network. | commonly used components in the medium-voltage (MV) and low-voltage (LV) networks are described in chapter 4 . These include cables, joints, transformers, inductors, circuit breakers, switchgear, and fuses. Chapter 5
Hoofdstuk 6 | Chapter 6 | networks, which makes the aspect of safety particularly important. In addition to the protection concepts, attention is given to touch safety during short circuits in the low- or medium-voltage network.
behandelt de opzet van de beveiliging en de toegepaste beveiligingscomponenten. Het hoofdstuk gaat in op beveiliging van een aansluiting, een transformator en het net zelf. Ook wordt kort ingegaan op enkele complicaties die, bijvoorbeeld door de aanwezigheid van decentrale productie-eenheden, kunnen optreden. | discusses the setup of the protection and the applied protection components. The chapter addresses the protection of a connection, a transformer, and the network itself. It also briefly touches on some complications that can arise, for example, due to the presence of decentralized production units. | makes the aspect of safety particularly important. In addition to the protection concepts, attention is given to touch safety during short circuits in the low- or medium-voltage network. Chapter 6
Deel 2: Rekenen aan een net | Part 2: Calculating a Network | protection of a connection, a transformer, and the network itself. It also briefly touches on some complications that can arise, for example, due to the presence of decentralized production units.
Dit deel begint in | This part begins in | transformer, and the network itself. It also briefly touches on some complications that can arise, for example, due to the presence of decentralized production units. Part 2: Calculating a Network
hoofdstuk 7 | chapter 7 | itself. It also briefly touches on some complications that can arise, for example, due to the presence of decentralized production units. Part 2: Calculating a Network This part begins in
met een korte uiteenzetting van enkele belangrijke basisbegrippen die nodig zijn voor het rekenen aan elektriciteitsnetten. De basis wordt gelegd met de beschrijving van het wisselspanningsysteem en de toepassing van de complexe rekenwijze. Vervolgens wordt de voor het doen van kortsluitberekeningen zo belangrijke symmetrische componentenmethode toegelicht. | with a brief explanation of some important basic concepts needed for calculating electrical networks. The foundation is laid with the description of the alternating current system and the application of complex calculation methods. Next, the crucial symmetrical component method for performing short-circuit calculations is explained. | also briefly touches on some complications that can arise, for example, due to the presence of decentralized production units. Part 2: Calculating a Network This part begins in chapter 7
Hoofdstuk 8 | Chapter 8 | foundation is laid with the description of the alternating current system and the application of complex calculation methods. Next, the crucial symmetrical component method for performing short-circuit calculations is explained.
geeft een beschrijving van de meeste modellen van componenten waaruit een elektriciteitsnet is opgebouwd en van apparaten die op een elektriciteitsnet kunnen zijn aangesloten. De modellen worden gebruikt bij het uitvoeren van loadflow- en kortsluitstroomberekeningen. | provides a description of most models of components that make up an electrical grid and devices that can be connected to an electrical grid. The models are used for performing load flow and short-circuit current calculations. | laid with the description of the alternating current system and the application of complex calculation methods. Next, the crucial symmetrical component method for performing short-circuit calculations is explained. Chapter 8
Hoofdstuk 9 | Chapter 9 | of components that make up an electrical grid and devices that can be connected to an electrical grid. The models are used for performing load flow and short-circuit current calculations.
beschrijft de loadflowberekening, die altijd als eerste op het model van een net wordt uitgevoerd. De loadflowberekening geeft informatie over de verdeling van de stromen in alle kabels en overige verbindingen van het net. | describes the load flow calculation, which is always performed first on the model of a network. The load flow calculation provides information about the distribution of currents in all cables and other connections of the network. | that make up an electrical grid and devices that can be connected to an electrical grid. The models are used for performing load flow and short-circuit current calculations. Chapter 9
Bovendien worden met deze berekening alle spanningen op de knooppunten vastgesteld. Bij de berekening wordt uitgegaan van de vermogens die de belastingen opnemen en die de productie-eenheden leveren. Bovendien zijn de schakeltoestanden in het net en de instellingen van componenten, zoals regelbare transformatoren, van belang. | Additionally, this calculation determines all the voltages at the nodes. The calculation is based on the power consumed by the loads and supplied by the production units. Furthermore, the switching states in the network and the settings of components, such as adjustable transformers, are also important. | is always performed first on the model of a network. The load flow calculation provides information about the distribution of currents in all cables and other connections of the network.
De berekening van de stromen in geval van een kortsluiting ergens in het net wordt toegelicht in | The calculation of currents in the event of a short circuit somewhere in the network is explained in | power consumed by the loads and supplied by the production units. Furthermore, the switching states in the network and the settings of components, such as adjustable transformers, are also important.
hoofdstuk 10 | chapter 10 | and the settings of components, such as adjustable transformers, are also important. The calculation of currents in the event of a short circuit somewhere in the network is explained in
. Voor diverse soorten kortsluiting wordt uitvoerig beschreven hoe aan de hand van de internationaal erkende norm IEC 60909 de stroom op de kortsluitplaats en de bijdrage aan de kortsluitstroom vanuit overige delen van het net kan worden berekend. Ook wordt de methode van sequentiële storingsanalyse toegelicht, waarmee meer informatie over stromen en spanningen tijdens een kortsluiting kan worden verkregen. | For various types of short circuits, it is extensively described how, based on the internationally recognized standard IEC 60909, the current at the short circuit location and the contribution to the short circuit current from other parts of the network can be calculated. The method of sequential fault analysis is also explained, which provides more information about currents and voltages during a short circuit. | settings of components, such as adjustable transformers, are also important. The calculation of currents in the event of a short circuit somewhere in the network is explained in chapter 10
Hoofdstuk 11 | Chapter 11 | from other parts of the network can be calculated. The method of sequential fault analysis is also explained, which provides more information about currents and voltages during a short circuit.
behandelt de diverse aspecten die onder het begrip Power Quality vallen. Behandeld worden de spanning bij langzame spanningsvariaties, dips, flikker, asymmetrie en harmonischen. | covers the various aspects that fall under the concept of Power Quality. It addresses voltage during slow voltage variations, dips, flicker, asymmetry, and harmonics. | parts of the network can be calculated. The method of sequential fault analysis is also explained, which provides more information about currents and voltages during a short circuit. Chapter 11
Hoofdstuk 12 | Chapter 12 | during a short circuit. Chapter 11 covers the various aspects that fall under the concept of Power Quality. It addresses voltage during slow voltage variations, dips, flicker, asymmetry, and harmonics.
geeft een inleiding over de betrouwbaarheid van de levering. Hierbij wordt uitgegaan van de processen: falen, herstellen en repareren. | provides an introduction to the reliability of supply. It is based on the processes of failure, recovery, and repair. | short circuit. Chapter 11 covers the various aspects that fall under the concept of Power Quality. It addresses voltage during slow voltage variations, dips, flicker, asymmetry, and harmonics. Chapter 12
Deel 3: Ontwerpen en bedrijfsvoeren | Part 3: Design and Operations | during slow voltage variations, dips, flicker, asymmetry, and harmonics. Chapter 12 provides an introduction to the reliability of supply. It is based on the processes of failure, recovery, and repair.
Dit deel begint in | This part begins in | flicker, asymmetry, and harmonics. Chapter 12 provides an introduction to the reliability of supply. It is based on the processes of failure, recovery, and repair. Part 3: Design and Operations
hoofdstuk 13 | chapter 13 | Chapter 12 provides an introduction to the reliability of supply. It is based on the processes of failure, recovery, and repair. Part 3: Design and Operations This part begins in
met een toelichting over het ontwerpen van distributienetten. Uitgangspunt hierbij is het laagspanningsnet. De maximale lengte van een laagspanningskabel wordt voornamelijk bepaald door de eisen ten aanzien van de Power Quality en de aanrakingsveiligheid. Hiermee ligt de maximale omvang van het voorzieningsgebied van een netstation vast. Vervolgens komt het ontwerp van een middenspanningsnet aan de orde. | with an explanation about the design of distribution networks. The starting point here is the low-voltage network. The maximum length of a low-voltage cable is primarily determined by the requirements regarding Power Quality and touch safety. This sets the maximum size of the service area of a substation. Next, the design of a medium-voltage network is discussed. | provides an introduction to the reliability of supply. It is based on the processes of failure, recovery, and repair. Part 3: Design and Operations This part begins in chapter 13
Hoofdstuk 14 | Chapter 14 | by the requirements regarding Power Quality and touch safety. This sets the maximum size of the service area of a substation. Next, the design of a medium-voltage network is discussed.
gaat in op de bedrijfsvoering van de distributienetten. Na de beschrijving van de huidige wijze van bedrijfsvoeren, wordt ingegaan op aandachtspunten betreffende spanningshuishouding, decentrale opwekking en netverlies. | addresses the operation of distribution networks. After describing the current methods of operation, it delves into key points regarding voltage management, decentralized generation, and network losses. | requirements regarding Power Quality and touch safety. This sets the maximum size of the service area of a substation. Next, the design of a medium-voltage network is discussed. Chapter 14
Hoofdstuk 15 | Chapter 15 | is discussed. Chapter 14 addresses the operation of distribution networks. After describing the current methods of operation, it delves into key points regarding voltage management, decentralized generation, and network losses.
geeft een beschrijving van de ontwikkelingen rond de intelligente netten en de mogelijke gevolgen voor het ontwerp en de bedrijfsvoering van de netten. De ontwikkelingen gaan snel, waardoor de in dit hoofdstuk besproken zaken snel verouderen. | provides a description of the developments around smart grids and the possible consequences for the design and operation of the networks. The developments are progressing rapidly, causing the topics discussed in this chapter to become outdated quickly. | Chapter 14 addresses the operation of distribution networks. After describing the current methods of operation, it delves into key points regarding voltage management, decentralized generation, and network losses. Chapter 15
Het boek eindigt in | The book ends in | smart grids and the possible consequences for the design and operation of the networks. The developments are progressing rapidly, causing the topics discussed in this chapter to become outdated quickly.
hoofdstuk 16 | chapter 16 | possible consequences for the design and operation of the networks. The developments are progressing rapidly, causing the topics discussed in this chapter to become outdated quickly. The book ends in
met behandeling van nieuwe inzichten ten aanzien van de visualisatie van de distributienetten. De besproken visualisatietechnieken staan ten dienste van het ontwerpen en het bedrijfsvoeren van de netten. Ook op dit vlak gaan de ontwikkelingen snel, zodat alleen een globale beschrijving wordt gegeven. | with the treatment of new insights regarding the visualization of distribution networks. The discussed visualization techniques serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided. | for the design and operation of the networks. The developments are progressing rapidly, causing the topics discussed in this chapter to become outdated quickly. The book ends in chapter 16
Gebruikte netwerkbestanden | Used network files | of distribution networks. The discussed visualization techniques serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided.
In alle hoofdstukken is voor het uitbeelden van netschema’s en het uitvoeren van berekeningen gebruik gemaakt van de rekenprogramma’s Gaia LV Network design (versie 6.2) en Vision Network analysis (versie 7.2) van Phase to Phase. | In all chapters, the calculation programs Gaia LV Network Design (version 6.2) and Vision Network Analysis (version 7.2) from Phase to Phase were used for visualizing network diagrams and performing calculations. | The discussed visualization techniques serve the design and operation of the networks. Developments in this area are also progressing rapidly, so only a general description is provided. Used network files
De in het boek gebruikte netmodellen zijn beschikbaar op de website van Phase to Phase, zodat de lezer met behulp van de bijbehorende programma’s de cases zelf kan bekijken en narekenen. De programma’s kunnen op iedere PC worden geïnstalleerd. Zonder licentie werken zij in de demonstratiemodus, waarmee de gebruiker de cases kan openen, bekijken, bewerken en narekenen. De functies van de rekenprogramma’s zijn in de demonstratiemodus beperkt. | The network models used in the book are available on the Phase to Phase website, allowing the reader to view and recalculate the cases using the associated programs. The programs can be installed on any PC. Without a license, they operate in demonstration mode, enabling the user to open, view, edit, and recalculate the cases. The functions of the calculation programs are limited in demonstration mode. | all chapters, the calculation programs Gaia LV Network Design (version 6.2) and Vision Network Analysis (version 7.2) from Phase to Phase were used for visualizing network diagrams and performing calculations.
De netmodellen zijn | The network models are | Without a license, they operate in demonstration mode, enabling the user to open, view, edit, and recalculate the cases. The functions of the calculation programs are limited in demonstration mode.
hier | hier | operate in demonstration mode, enabling the user to open, view, edit, and recalculate the cases. The functions of the calculation programs are limited in demonstration mode. The network models are
te downloaden. | to download. | in demonstration mode, enabling the user to open, view, edit, and recalculate the cases. The functions of the calculation programs are limited in demonstration mode. The network models are hier