## Sheet1
Original Text | Translated Text | Previous Context
Inleiding | Inleiding
Elektriciteit speelt al sinds meer dan 100 jaar een zeer belangrijke rol in onze moderne samenleving, zeker vanaf het moment dat elektriciteit werd ingezet voor het maken van licht en het verrichten van arbeid. Anno 2011 zijn er veel nieuwe ontwikkelingen die het vak van de elektriciteitsvoorziening alleen maar interessanter maken. Zowel op elektrotechnisch gebied als op maatschappelijk gebied staan de ontwikkelingen niet stil. Dit boek poogt een overzicht te geven van de technische aspecten van de elektriciteitsvoorziening in het verleden, het heden en de nabije toekomst. | Electricity has played a very important role in our modern society for more than 100 years, especially since the moment electricity was used for creating light and performing work. As of 2011, there are many new developments that make the field of electricity supply even more interesting. Developments continue both in the field of electrical engineering and in societal aspects. This book attempts to provide an overview of the technical aspects of electricity supply in the past, present, and near future. | Inleiding
1 Elektriciteit vroeger en nu | 1 Electricity Then and Now | the field of electrical engineering and in societal aspects. This book attempts to provide an overview of the technical aspects of electricity supply in the past, present, and near future.
De ontwikkelingen die leidden tot de moderne elektriciteitsvoorzieningsystemen van vandaag de dag hebben een lang voortraject, dat begon met de ontdekking van de statische elektriciteit. Al in de oudheid kende de mensheid verschijnselen van statische elektriciteit. Door barnsteen te wrijven met een dierlijke vacht werd het statisch geladen en kon het lichte voorwerpen aantrekken. Elektriciteit heeft zijn naam te danken aan het oude Griekse woord voor barnsteen (Elektron = ηλεκτρον). In 1663 bouwde Otto von Guericke volgens dat principe een elektriseermachine, die het voor het eerst mogelijk maakte elektrische lading op gecontroleerde wijze op te wekken. Dankzij de uitvinding van de Leidse fles, in 1746 door Pieter van Musschenbroek, kon men deze lading ook opslaan. In de zeventiende en achttiende eeuw gingen talloze onderzoekers met de tot dan toe nog onverklaarbare elektriciteit aan de slag. Hun bevindingen leidden tot talloze speculaties en ontdekkingen. Elektrostatische machines gaven echter alleen maar één enkele stroomstoot. Pas met de komst van de batterij (Volta, 1800) kon men een permanente stroom produceren. Het wetenschappelijk onderzoek nam toen een grote vlucht en gaandeweg begonnen ingenieurs bruikbare toepassingen te ontwikkelen. Met de uitvinding van een praktische gloeilamp kwam grootschalige toepassing van elektriciteit binnen bereik van velen. | The developments that led to the modern electricity supply systems of today have a long history, beginning with the discovery of static electricity. As early as ancient times, humanity was aware of phenomena related to static electricity. By rubbing amber with animal fur, it became statically charged and could attract light objects. Electricity owes its name to the ancient Greek word for amber (Elektron = ηλεκτρον). In 1663, Otto von Guericke built an electrostatic machine based on this principle, which for the first time made it possible to generate electrical charge in a controlled manner. Thanks to the invention of the Leyden jar by Pieter van Musschenbroek in 1746, this charge could also be stored. In the seventeenth and eighteenth centuries, numerous researchers began to investigate the then-unexplained electricity. Their findings led to countless speculations and discoveries. However, electrostatic machines only produced a single burst of current. It was not until the advent of the battery (Volta, 1800) that a continuous current could be produced. Scientific research then took off, and gradually engineers began to develop practical applications. With the invention of a practical incandescent lamp, large-scale application of electricity became accessible to many. | and in societal aspects. This book attempts to provide an overview of the technical aspects of electricity supply in the past, present, and near future. 1 Electricity Then and Now
Ontwikkeling van de elektriciteitsvoorziening | Development of the electricity supply | produced. Scientific research then took off, and gradually engineers began to develop practical applications. With the invention of a practical incandescent lamp, large-scale application of electricity became accessible to many.
Vooruitstrevende burgers begonnen hotels, fabrieken, kerken en woonhuizen uit te rusten met gloeilampen die door eigen dynamo’s of batterijen van elektriciteit werden voorzien. Edison zag in 1879 in dat centrale opwekking van elektriciteit een enorme markt zou openen: ‘We will make electricity so cheap that only the rich will burn candles’. Hij moest daarvoor wel eerst een compleet elektriciteitsnetwerk, inclusief dynamo’s, kabels en accessoires zoals fittingen, zekeringen en elektriciteitsmeters ontwikkelen. In 1882 nam hij ’s werelds eerste elektriciteitscentrale in bedrijf die 110 V gelijkspanning leverde aan een paar blokken rond Pearl Street in Manhattan. De 100 V lampen dicht bij de centrale konden in die tijd op een spanning van 110 V werken. Bij transport over meer dan 2,5 km werd het spanningsverlies in de laagspanningslijnen te groot, hetgeen de omvang van het voorzieningsgebied beperkte. Binnen enkele jaren stonden er meer dan honderd gelijkstroomcentrales in Amerika. | Progressive citizens began equipping hotels, factories, churches, and residences with incandescent lamps powered by their own dynamos or batteries. In 1879, Edison realized that central generation of electricity would open up a huge market: "We will make electricity so cheap that only the rich will burn candles." However, he first had to develop a complete electrical network, including dynamos, cables, and accessories such as fittings, fuses, and electricity meters. In 1882, he commissioned the world's first power plant, which supplied 110 V direct current to a few blocks around Pearl Street in Manhattan. The 100 V lamps close to the plant could operate at a voltage of 110 V at that time. When transported over more than 2.5 km, the voltage drop in the low-voltage lines became too great, limiting the size of the supply area. Within a few years, there were more than a hundred direct current power plants in America. | off, and gradually engineers began to develop practical applications. With the invention of a practical incandescent lamp, large-scale application of electricity became accessible to many. Development of the electricity supply
Figuur 1.1 Edison’s gelijkstroomcentrale in Pearl Street (foto Corbis) | Figure 1.1 Edison’s direct current power plant on Pearl Street (photo Corbis) | in the low-voltage lines became too great, limiting the size of the supply area. Within a few years, there were more than a hundred direct current power plants in America.
In 1884 emigreerde de Kroatische Serviër Nikola Tesla naar Amerika om bij Edison in New York te gaan werken. Tesla nam uit Europa de overtuiging mee dat wisselstroom superieur was aan gelijkstroom. Edison bleef echter vasthouden aan gelijkstroom. In 1888 ging Tesla daarom bij Westinghouse in Pittsburgh werken. Daar ontwikkelde hij een compleet wisselstroomsysteem met transformatoren, inductiemotoren en dynamo’s, zie figuur 1.2. Een van de grote voordelen van wisselstroom ten opzichte van gelijkstroom is dat de spanning met behulp van een transformator naar hogere en naar lagere niveaus omgezet kan worden. Bij een hoge transportspanning is de te transporteren stroom navenant kleiner, waardoor de verliezen in de lijnen beperkt blijven en waardoor de omvang van het voorzieningsgebied groter is dan in het geval van het 110 V gelijkstroomsysteem. In 1890 werd de eerste wisselstroomcentrale in werking gesteld. | In 1884, the Croatian Serb Nikola Tesla emigrated to America to work with Edison in New York. Tesla brought with him from Europe the conviction that alternating current was superior to direct current. However, Edison continued to adhere to direct current. Therefore, in 1888, Tesla went to work for Westinghouse in Pittsburgh. There, he developed a complete alternating current system with transformers, induction motors, and dynamos, see figure 1.2. One of the major advantages of alternating current over direct current is that the voltage can be converted to higher and lower levels using a transformer. With a high transmission voltage, the current to be transported is correspondingly smaller, which limits the losses in the lines and allows the supply area to be larger than in the case of the 110 V direct current system. In 1890, the first alternating current power plant was put into operation. | supply area. Within a few years, there were more than a hundred direct current power plants in America. Figure 1.1 Edison’s direct current power plant on Pearl Street (photo Corbis)
Figuur 1.2 Tesla's US390721 patent voor een ‘Dynamo Electric Machine’ | Figure 1.2 Tesla's US390721 patent for a 'Dynamo Electric Machine' | allows the supply area to be larger than in the case of the 110 V direct current system. In 1890, the first alternating current power plant was put into operation.
Eind jaren ’80 van de 19e eeuw brak de ‘War of Currents’ uit. Edison trachtte zijn belangen in gelijkstroom te beschermen. Hij hamerde vooral op de gevaren van hoge wisselspanning: met openbare experimenten op dieren probeerde hij aan te tonen hoe dodelijk wisselstroom was. Hij zorgde ervoor dat de net uitgevonden elektrische stoel daarom met wisselstroom zou worden uitgerust. Het was een vergeefse strijd, die in 1893 werd beslist. Gewapend met Tesla’s wisselstroomsysteem kreeg Westinghouse de opdracht de Chicago World’s Fair van verlichting te voorzien. Op de feeëriek verlichte tentoonstelling bewonderden 27 miljoen bezoekers de twaalf 1000 pk wisselstroomgeneratoren en Tesla’s meerfase systeem voor wisselstroomopwekking en -distributie. | In the late 1880s, the "War of Currents" broke out. Edison tried to protect his interests in direct current. He particularly emphasized the dangers of high alternating voltage: through public experiments on animals, he attempted to demonstrate how deadly alternating current was. He ensured that the newly invented electric chair would therefore be equipped with alternating current. It was a futile struggle, which was decided in 1893. Armed with Tesla's alternating current system, Westinghouse was commissioned to provide lighting for the Chicago World's Fair. At the fairy-tale illuminated exhibition, 27 million visitors admired the twelve 1000 hp alternating current generators and Tesla's polyphase system for alternating current generation and distribution. | case of the 110 V direct current system. In 1890, the first alternating current power plant was put into operation. Figure 1.2 Tesla's US390721 patent for a 'Dynamo Electric Machine'
Figuur 1.3 Chicago World’s Fair (foto Getty) | Figure 1.3 Chicago World's Fair (photo Getty) | the Chicago World's Fair. At the fairy-tale illuminated exhibition, 27 million visitors admired the twelve 1000 hp alternating current generators and Tesla's polyphase system for alternating current generation and distribution.
In Noord-Amerika koos men voor een nominale spanning 110 V omdat in de jaren rond 1880 de koolstoflampen waren ontworpen voor een spanning van 100 V met een tolerantie van +10%. De hogere spanning was nodig voor het spanningsverlies over de laagspanningslijnen en kabels. Om de stromen in het laagspanningsnet te reduceren, koos in 1899 de Berliner Elektrizitäts-Werk (BEW) voor een dubbel zo hoog spanningsniveau van 220 V. Met de uitvinding van de gloeilamp met een metallische gloeidraad, was het mogelijk deze te ontwerpen voor de hogere spanning. De vervangingskosten van apparatuur bij hun klanten waren minder dan de besparing op het netverlies. Door deze keuze was de standaard gezet voor de nominale spanning van 220 V in Duitsland en in Europa. | In North America, a nominal voltage of 110 V was chosen because, around the 1880s, carbon filament lamps were designed for a voltage of 100 V with a tolerance of +10%. The higher voltage was necessary to account for voltage loss over low-voltage lines and cables. To reduce currents in the low-voltage network, the Berliner Elektrizitäts-Werk (BEW) chose a voltage level twice as high, 220 V, in 1899. With the invention of the incandescent lamp with a metallic filament, it became possible to design these lamps for the higher voltage. The cost of replacing equipment for their customers was less than the savings on network loss. This choice set the standard for the nominal voltage of 220 V in Germany and Europe. | illuminated exhibition, 27 million visitors admired the twelve 1000 hp alternating current generators and Tesla's polyphase system for alternating current generation and distribution. Figure 1.3 Chicago World's Fair (photo Getty)
Ten aanzien van de frequentie was in de begindagen nog geen eenduidigheid. Door de internationale handel in elektrische apparaten was men gedwongen een standaard te accepteren. In Noord-Amerika groeide de voorkeur voor 60 Hz. Het Duitse AEG koos echter voor een frequentie van 50 Hz voor hun eerste grote centrale, vermoedelijk omdat 60 geen voorkeursgetal (uit de reeks 1-2-5) was. Aangezien AEG in die dagen een monopolie had, kon hun standaard verspreid worden over de rest van Europa. | Regarding the frequency, there was no consensus in the early days. Due to international trade in electrical appliances, a standard had to be accepted. In North America, the preference for 60 Hz grew. However, the German company AEG chose a frequency of 50 Hz for their first large power plant, presumably because 60 was not a preferred number (from the series 1-2-5). Since AEG had a monopoly in those days, their standard could be spread across the rest of Europe. | of replacing equipment for their customers was less than the savings on network loss. This choice set the standard for the nominal voltage of 220 V in Germany and Europe.
Ontwikkeling van de elektriciteitsvoorziening in Nederland | Development of the electricity supply in the Netherlands | presumably because 60 was not a preferred number (from the series 1-2-5). Since AEG had a monopoly in those days, their standard could be spread across the rest of Europe.
Net als in Amerika waren ook in Nederland de eerste elektriciteitsbedrijven een particulier initiatief. In 1884 begon Kapitein De Khotinsky met het verkopen van elektriciteit in Rotterdam. Hij laadde overdag open accu’s op in Rotterdam-Zuid, die hij ’s avonds naar de overkant liet varen om daar kantoorgebouwen van elektriciteit te voorzien. Het systeem was niet perfect: bij zwaar weer klotste het zwavelzuur tijdens het overvaren over de rand van de accu’s. Omdat de gemeente zijn plannen om centrales in de stad te bouwen tegenwerkte, vertrok de kapitein in 1888 naar Duitsland. | Just like in America, the first electricity companies in the Netherlands were also private initiatives. In 1884, Captain De Khotinsky began selling electricity in Rotterdam. During the day, he charged open batteries in Rotterdam-South, which he then ferried across in the evening to supply office buildings with electricity. The system was not perfect: in bad weather, the sulfuric acid would slosh over the edges of the batteries during the crossing. Because the municipality opposed his plans to build power plants in the city, the captain left for Germany in 1888. | (from the series 1-2-5). Since AEG had a monopoly in those days, their standard could be spread across the rest of Europe. Development of the electricity supply in the Netherlands
Figuur 1.4 De centrale van Kinderdijk in 1886-1915 | Figure 1.4 The power plant of Kinderdijk in 1886-1915 | slosh over the edges of the batteries during the crossing. Because the municipality opposed his plans to build power plants in the city, the captain left for Germany in 1888.
De eerste Nederlandse openbare centrale werd in 1886 door Willem B. Smit in Kinderdijk gebouwd met een stoommachine van 80 pk en twee gelijkstroomdynamo's van elk 7,5 kW. Tot 10 uur ’s avonds leverde hij elektriciteit voor 300 ‘lichtpunten’ bij bedrijven en huishoudens. Al snel werden overal in het land elektriciteitsbedrijven opgericht. Gemeenten reageerden vaak terughoudend, omdat zij bang waren voor het voortbestaan van hun gasfabrieken. Toen ze inzagen dat de opkomst van elektriciteit niet te stuiten was, besloten grotere steden vanaf 1900 zelf de opwekking en distributie van elektriciteit ter hand te nemen. In twaalf jaar groeide het totaal opgesteld vermogen in Nederland van 3 naar 70 MW. | The first Dutch public power plant was built in 1886 by Willem B. Smit in Kinderdijk, equipped with an 80 hp steam engine and two direct current dynamos, each with a capacity of 7.5 kW. Until 10 PM, he supplied electricity for 300 'light points' to businesses and households. Soon, electricity companies were established all over the country. Municipalities often responded cautiously because they were concerned about the survival of their gas factories. When they realized that the rise of electricity was unstoppable, larger cities decided from 1900 onwards to take the generation and distribution of electricity into their own hands. In twelve years, the total installed capacity in the Netherlands grew from 3 to 70 MW. | crossing. Because the municipality opposed his plans to build power plants in the city, the captain left for Germany in 1888. Figure 1.4 The power plant of Kinderdijk in 1886-1915
‘Overzeesche gebiedsdeelen’ | 'Overseas territories' | 1900 onwards to take the generation and distribution of electricity into their own hands. In twelve years, the total installed capacity in the Netherlands grew from 3 to 70 MW.
Al in 1890 regelde de Nederlands-Indische overheid met een zeer vooruitstrevende ‘ordonnantie’ de elektriciteitsvoorziening. Die begon daarop ook in Nederlands-Indië als particulier initiatief. Anders dan in het moederland bleef dat ook zo. Dankzij haar ordonnantie was de overheid in staat leiding te geven aan de particuliere ondernemingen. | As early as 1890, the Dutch East Indies government regulated the electricity supply with a very progressive 'ordinance.' Consequently, electricity generation in the Dutch East Indies began as a private initiative. Unlike in the motherland, it remained that way. Thanks to its ordinance, the government was able to provide guidance to private enterprises. | to take the generation and distribution of electricity into their own hands. In twelve years, the total installed capacity in the Netherlands grew from 3 to 70 MW. 'Overseas territories'
De distributiespanning was over het algemeen 220/127 V. De spanning was lager dan in Nederland, onder meer omdat ‘de inlandsche bevolking blootsvoets loopt’. | The distribution voltage was generally 220/127 V. The voltage was lower than in the Netherlands, partly because "the indigenous population walks barefoot." | Dutch East Indies began as a private initiative. Unlike in the motherland, it remained that way. Thanks to its ordinance, the government was able to provide guidance to private enterprises.
Al was er in 1938 al in veel steden elektriciteit voorhanden, het aantal aansluitingen was veel lager dan in Nederland. Er waren bijvoorbeeld vele kilometerslange 30 kV-lijnen, waarlangs slechts zo’n 60 kW werd vervoerd. | Although electricity was already available in many cities in 1938, the number of connections was much lower than in the Netherlands. For example, there were many kilometers-long 30 kV lines, along which only about 60 kW was transmitted. | was able to provide guidance to private enterprises. The distribution voltage was generally 220/127 V. The voltage was lower than in the Netherlands, partly because "the indigenous population walks barefoot."
Op Curaçao werd al in 1889 een concessie verleend aan de Amerikaan L.B. Smith. De concessie kwam al snel in handen van ‘Maduro & Sons’ en werd later overgedragen aan de Nederlandsch-Indische Gas Maatschappij. Deze maatschappij begon in 1930 ook in Paramaribo een elektriciteitsbedrijf. | In Curaçao, a concession was granted to the American L.B. Smith as early as 1889. The concession quickly came into the hands of 'Maduro & Sons' and was later transferred to the Netherlands-Indies Gas Company. This company also started an electricity business in Paramaribo in 1930. | in 1938, the number of connections was much lower than in the Netherlands. For example, there were many kilometers-long 30 kV lines, along which only about 60 kW was transmitted.
Figuur 1.5 Het elektriciteitsnet in Java in 1938 | Figure 1.5 The electricity grid in Java in 1938 | concession quickly came into the hands of 'Maduro & Sons' and was later transferred to the Netherlands-Indies Gas Company. This company also started an electricity business in Paramaribo in 1930.
Staatsbemoeienis | Staatsbemoeienis | Sons' and was later transferred to the Netherlands-Indies Gas Company. This company also started an electricity business in Paramaribo in 1930. Figure 1.5 The electricity grid in Java in 1938
Rond 1920 had Nederland zo’n 550 elektriciteitsbedrijven, waarvan er 480 uitsluitend distributiebedrijven waren. Amsterdam was in die tijd de meest geëlektrificeerde stad ter wereld en ook in de meeste andere Nederlandse steden was de elektriciteitsvoorziening goed in orde. Rond de steden werden ook omliggende plaatsen op de lokale netten aangesloten, maar geen van de bedrijven voelde er voor het platteland te elektrificeren. Volgens de overheid moesten echter ook ‘onrendabele gebieden’ worden aangesloten. Per Koninklijk Besluit werden ‘Provinciale Electriciteits-Maatschappijen’ opgericht die hun hele werkgebied van elektriciteit moesten gaan voorzien. Alleen Drenthe en Zuid-Holland kregen geen provinciaal bedrijf. Drenthe werd verdeeld tussen Groningen en Overijssel (IJsselcentrale) terwijl in Zuid-Holland de elektrificatie vanuit de grote steden al zo ver gevorderd was, dat men besloot dat niet meer te veranderen. De bedrijven in Friesland, Noord-Holland en Groningen waren pure overheidsbedrijven, terwijl die van Utrecht, Gelderland, Noord-Brabant, Zeeland en Limburg N.V.’s waren, met de provincies als aandeelhouders. Als gevolg hiervan waren de laatste – tot het eind van de twintigste eeuw aan toe – in staat veel daadkrachtiger op te treden. In deze periode ontstonden ook de ‘Arnhemse Instellingen’, organisaties als KEMA, VDEN en VEEN, waarin de elektriciteitsbedrijven samenwerkten. | Around 1920, the Netherlands had about 550 electricity companies, of which 480 were solely distribution companies. At that time, Amsterdam was the most electrified city in the world, and the electricity supply in most other Dutch cities was also well organized. Surrounding areas were connected to the local grids around the cities, but none of the companies were interested in electrifying the countryside. However, the government insisted that "unprofitable areas" should also be connected. By Royal Decree, "Provincial Electricity Companies" were established to provide electricity to their entire service areas. Only Drenthe and South Holland did not receive a provincial company. Drenthe was divided between Groningen and Overijssel (IJsselcentrale), while in South Holland, electrification from the major cities had progressed so far that it was decided not to change it. The companies in Friesland, North Holland, and Groningen were purely government-owned, while those in Utrecht, Gelderland, North Brabant, Zeeland, and Limburg were N.V.'s (public limited companies) with the provinces as shareholders. As a result, the latter were able to act much more decisively until the end of the twentieth century. During this period, the "Arnhem Institutions" also emerged, organizations like KEMA, VDEN, and VEEN, where the electricity companies collaborated. | and was later transferred to the Netherlands-Indies Gas Company. This company also started an electricity business in Paramaribo in 1930. Figure 1.5 The electricity grid in Java in 1938 Staatsbemoeienis
Direct na de tweede wereldoorlog kende ons land 10 provinciale en 69 gemeentelijke en andere distributiebedrijven. Vanuit hun historie bestond het distributienet uit een grote diversiteit aan boven- en ondergrondse verbindingen. Ook dunne middenspanningskabels waren heel gewoon. De transformatoren, aangeschaft tussen de eerste en tweede wereldoorlog, waren in alle soorten en maten aanwezig. Deze toestand was de aanzet tot de normalisatie in het elektriciteitsvoorzieningsysteem. Ook de keuze voor genormaliseerde spanningsniveaus voor de diverse functies is in die tijd gemaakt. | Immediately after the Second World War, our country had 10 provincial and 69 municipal and other distribution companies. Historically, the distribution network consisted of a wide variety of above-ground and underground connections. Thin medium-voltage cables were also very common. The transformers, acquired between the First and Second World Wars, came in all shapes and sizes. This situation prompted the standardization of the electricity supply system. The choice for standardized voltage levels for various functions was also made during that time. | act much more decisively until the end of the twentieth century. During this period, the "Arnhem Institutions" also emerged, organizations like KEMA, VDEN, and VEEN, where the electricity companies collaborated.
Samenwerking | Samenwerking | in all shapes and sizes. This situation prompted the standardization of the electricity supply system. The choice for standardized voltage levels for various functions was also made during that time.
In de provincies werd flink geïnvesteerd. In Brabant waren al in 1922 twee ringvormige 50 kV-netten voltooid, en begon men aan een 150 kV-lijn. In het noorden koos men voor 60 kV-netten. Groningen en Friesland koppelden in 1929 hun netten aan elkaar om hun centrales efficiënter te kunnen inzetten. In Limburg werd een lijn aangelegd die de centrales van de mijnen met het noorden verbond. | Significant investments were made in the provinces. In Brabant, two ring-shaped 50 kV networks were completed as early as 1922, and work began on a 150 kV line. In the north, they opted for 60 kV networks. Groningen and Friesland connected their networks in 1929 to utilize their power plants more efficiently. In Limburg, a line was constructed that connected the mines' power plants with the north. | all shapes and sizes. This situation prompted the standardization of the electricity supply system. The choice for standardized voltage levels for various functions was also made during that time. Samenwerking
Al snel werd gesproken over het aanleggen van een landelijk koppelnet. KEMA-directeur Van Staveren boog zich over dit idee. Samen met mededirecteur De Zoeten was hij na de Slag om Arnhem geëvacueerd en in Eerbeek terechtgekomen. Tijdens hun evacuatie ontwikkelden zij een alomvattend plan voor de naoorlogse structuur van de Nederlandse elektriciteitsvoorziening. Dit leidde in 1949 tot de oprichting van de N.V. Samenwerkende Electriciteits-Productiebedrijven (SEP) met beide heren als directeur. | Soon, there was talk of establishing a national interconnected grid. KEMA director Van Staveren considered this idea. Together with co-director De Zoeten, he was evacuated after the Battle of Arnhem and ended up in Eerbeek. During their evacuation, they developed a comprehensive plan for the post-war structure of the Dutch electricity supply. This led to the founding of the N.V. Samenwerkende Electriciteits-Productiebedrijven (SEP) in 1949, with both gentlemen as directors. | Groningen and Friesland connected their networks in 1929 to utilize their power plants more efficiently. In Limburg, a line was constructed that connected the mines' power plants with the north.
Figuur 1.6 Het Nederlandse elektriciteitsnet in 1953 met verbonden centrales | Figure 1.6 The Dutch electricity grid in 1953 with connected power plants | a comprehensive plan for the post-war structure of the Dutch electricity supply. This led to the founding of the N.V. Samenwerkende Electriciteits-Productiebedrijven (SEP) in 1949, with both gentlemen as directors.
In 1950 waren de centrales van Limburg, Noord-Brabant en Zuid- en Noord-Holland met elkaar verbonden, en via Lutterade (bij Geleen) was uitwisseling van elektrische energie met het buitenland mogelijk. Drie jaar later waren alle centrales van Nederland met elkaar verbonden. De centrale besturing vanuit Arnhem kwam echter maar moeizaam van de grond. Het duurde 28 jaar voor – dankzij het programma Landelijke Economische Optimalisatie (LEO) van de elektriciteitsproductiebedrijven – het starten en stoppen van de in Nederland opgestelde centrales daadwerkelijk vanuit Arnhem werd gecoördineerd. | In 1950, the power plants of Limburg, North Brabant, and South and North Holland were interconnected, and through Lutterade (near Geleen), the exchange of electrical energy with foreign countries was possible. Three years later, all power plants in the Netherlands were interconnected. However, the central control from Arnhem got off to a slow start. It took 28 years before the starting and stopping of the power plants in the Netherlands were actually coordinated from Arnhem, thanks to the National Economic Optimization (LEO) program of the electricity production companies. | This led to the founding of the N.V. Samenwerkende Electriciteits-Productiebedrijven (SEP) in 1949, with both gentlemen as directors. Figure 1.6 The Dutch electricity grid in 1953 with connected power plants
Groei | Groei | before the starting and stopping of the power plants in the Netherlands were actually coordinated from Arnhem, thanks to the National Economic Optimization (LEO) program of the electricity production companies.
Vanaf de jaren vijftig nam, met de welvaart ook het elektriciteitsgebruik snel toe. In 1960 was de landelijke productie 16,5 TWh. Tien jaar later was het 41 TWh. Het jaarverbruik per inwoner steeg van 1300 naar 2900 kWh. Een forse stijging, al was in de VS het verbruik in 1970 maar liefst 7400 kWh per inwoner. | Starting in the 1950s, electricity usage increased rapidly along with prosperity. In 1960, national production was 16.5 TWh. Ten years later, it was 41 TWh. Annual consumption per capita rose from 1300 to 2900 kWh. A significant increase, although in the US, consumption in 1970 was as high as 7400 kWh per capita. | the starting and stopping of the power plants in the Netherlands were actually coordinated from Arnhem, thanks to the National Economic Optimization (LEO) program of the electricity production companies. Groei
In heel Nederland werd hard gewerkt om die groei te verwerken. Veel 50 kV-netten werden door 150 kV-netten vervangen en het noorden ruimde de 60 kV-netten op. In 1962 had Nederland een noordelijke ring van 110 kV en een zuidelijke van 150 kV. Deze netten zouden op termijn nog niet in staat zijn de groei te verwerken. Daarom werd besloten een landelijk 380 kV koppelnet aan te leggen. In 1970 werd het eerste deel van dit net door Prins Claus in werking gesteld. Niet alle elektriciteitsbedrijven werkten even enthousiast mee aan de realisering van het koppelnet. Hierdoor volgde het net bijvoorbeeld niet het ideale tracé, maar liep het vooral langs de randen van de verzorgingsgebieden. En al na enkele jaren stokte de bouw. Toen de westelijke helft van de ring was voltooid, zag een deel van de bedrijven niet in waarom ze zouden moeten bijdragen aan het voltooien van de ring. Ze investeerden liever in aansluitingen van hun centrales op de Maasvlakte, Borssele en IJmuiden. Pas na 22 jaar (in 1991) werd de ring gesloten. | Throughout the Netherlands, hard work was done to manage that growth. Many 50 kV grids were replaced by 150 kV grids, and the north cleared out the 60 kV grids. In 1962, the Netherlands had a northern ring of 110 kV and a southern ring of 150 kV. These grids would not be able to handle the growth in the long term. Therefore, it was decided to construct a national 380 kV coupling grid. In 1970, the first part of this grid was inaugurated by Prince Claus. Not all electricity companies were equally enthusiastic about the realization of the coupling grid. As a result, the grid did not follow the ideal route but mainly ran along the edges of the service areas. And after just a few years, construction stalled. When the western half of the ring was completed, some companies did not see why they should contribute to finishing the ring. They preferred to invest in connections for their power plants in Maasvlakte, Borssele, and IJmuiden. It was not until 22 years later (in 1991) that the ring was completed. | 41 TWh. Annual consumption per capita rose from 1300 to 2900 kWh. A significant increase, although in the US, consumption in 1970 was as high as 7400 kWh per capita.
Figuur 1.7 Het Nederlandse elektriciteitsnet voor (1962) en na (1985) de realisatie van het 380 kV-koppelnet | Figure 1.7 The Dutch electricity grid before (1962) and after (1985) the realization of the 380 kV coupling network | ring. They preferred to invest in connections for their power plants in Maasvlakte, Borssele, and IJmuiden. It was not until 22 years later (in 1991) that the ring was completed.
Fuseren en reorganiseren | Merging and reorganizing | until 22 years later (in 1991) that the ring was completed. Figure 1.7 The Dutch electricity grid before (1962) and after (1985) the realization of the 380 kV coupling network
Langzaam aan begon de maatschappij zich meer en meer met de elektriciteitsvoorziening te bemoeien. Burgers verzetten zich tegen kernenergie en tegen horizonvervuiling door hoogspanningsmasten. De politiek werd door de industrie onder druk gezet de elektriciteitstarieven omlaag te brengen. De historisch gegroeide structuur van de Nederlandse Elektriciteitsvoorziening paste steeds minder bij de maatschappelijke ontwikkelingen. De overheid besloot tot een totale reorganisatie van de elektriciteitssector. Onder druk van de regering werden rond 1986 de productiebedrijven samengevoegd tot vier zelfstandige grote bedrijven. Voor de distributiesector had men vergelijkbare plannen. De sector kreeg tot 1988 de tijd om daarvoor zelf met voorstellen te komen. Oud-burgemeester van Leeuwarden, Brandsma, werd ingehuurd om een en ander in kaart te brengen. Dit leidde respectievelijk tot de Inventarisatiecommissie Brandsma, de Stuurgroep Brandsma en de Begeleidingscommissie Reorganisatie Energiesector Brandsma. Deze laatste commissie stelde voor het aantal distributiebedrijven drastisch terug te brengen. | Gradually, society began to involve itself more and more with the electricity supply. Citizens opposed nuclear energy and visual pollution caused by high-voltage pylons. The industry pressured the government to lower electricity rates. The historically developed structure of the Dutch electricity supply increasingly mismatched societal developments. The government decided on a complete reorganization of the electricity sector. Under government pressure, around 1986, the production companies were merged into four independent large companies. Similar plans were made for the distribution sector. The sector was given until 1988 to come up with proposals for this. Former mayor of Leeuwarden, Brandsma, was hired to map out the situation. This led to the Brandsma Inventory Committee, the Brandsma Steering Group, and the Brandsma Energy Sector Reorganization Guidance Committee. This last committee proposed drastically reducing the number of distribution companies. | later (in 1991) that the ring was completed. Figure 1.7 The Dutch electricity grid before (1962) and after (1985) the realization of the 380 kV coupling network Merging and reorganizing
Figuur 1.8 Elektriciteitsbedrijven voor (1985) en na (2007) de fusiegolf | Figure 1.8 Electricity companies before (1985) and after (2007) the wave of mergers | This led to the Brandsma Inventory Committee, the Brandsma Steering Group, and the Brandsma Energy Sector Reorganization Guidance Committee. This last committee proposed drastically reducing the number of distribution companies.
De nieuwe structuur kwam geleidelijk tot stand. In eerste instantie gingen naburige bedrijven nauwer samenwerken: EGD in Groningen en IJsselmij in Overijssel gingen samen in EDON. In het noorden en oosten ontstonden ook de twee kleinere combinaties Rendo en Cogas. PGEM nam alle zelfstandige Gelderse bedrijven over. Op dezelfde manier gingen de meeste plaatselijke Brabantse bedrijven op in PNEM, en de Limburgse in PLEM (later MEGA Limburg). Rond 1995 fuseerden PGEM en PEB tot Nuon. In Zuid-Holland gingen de grootste bedrijven op in Eneco. Het fuseren en reorganiseren hield nog niet op. In Noord-Holland ging de al bestaande samenwerking tussen diverse gemeentebedrijven en de PEN over in ENW. | The new structure gradually took shape. Initially, neighboring companies began to collaborate more closely: EGD in Groningen and IJsselmij in Overijssel merged into EDON. In the north and east, two smaller combinations, Rendo and Cogas, also emerged. PGEM took over all independent companies in Gelderland. Similarly, most local companies in Brabant merged into PNEM, and those in Limburg into PLEM (later MEGA Limburg). Around 1995, PGEM and PEB merged to form Nuon. In South Holland, the largest companies merged into Eneco. The merging and reorganizing did not stop there. In North Holland, the existing collaboration between various municipal companies and PEN transitioned into ENW. | Brandsma Energy Sector Reorganization Guidance Committee. This last committee proposed drastically reducing the number of distribution companies. Figure 1.8 Electricity companies before (1985) and after (2007) the wave of mergers
In 1999 begon een tweede ronde van fusies: eerst sloten ENW en Rijnland zich aan bij Nuon. De bedrijven EDON, PNEM en MEGA Limburg en het tot dan toe zelfstandige Heerlen en Leeuwarden gingen samen verder als Essent. De overgebleven Zuid-Hollandse en Utrechtse bedrijven, Zuid-Kennemerland en Weert gingen op in Eneco. | In 1999, a second round of mergers began: first, ENW and Rijnland joined Nuon. The companies EDON, PNEM, and MEGA Limburg, along with the previously independent Heerlen and Leeuwarden, continued together as Essent. The remaining companies in South Holland and Utrecht, Zuid-Kennemerland and Weert, merged into Eneco. | Holland, the largest companies merged into Eneco. The merging and reorganizing did not stop there. In North Holland, the existing collaboration between various municipal companies and PEN transitioned into ENW.
Met het verdwijnen van de oude elektriciteitsbedrijven kwam ook een eind aan de bestaande overleginfrastructuur: SEP, VEEN, VDEN en GKN werden opgedoekt en de KEMA werd verzelfstandigd. | With the disappearance of the old electricity companies, the existing consultation infrastructure also came to an end: SEP, VEEN, VDEN, and GKN were dissolved, and KEMA was privatized. | PNEM, and MEGA Limburg, along with the previously independent Heerlen and Leeuwarden, continued together as Essent. The remaining companies in South Holland and Utrecht, Zuid-Kennemerland and Weert, merged into Eneco.
Liberalisering van de energiemarkt | Liberalization of the energy market | into Eneco. With the disappearance of the old electricity companies, the existing consultation infrastructure also came to an end: SEP, VEEN, VDEN, and GKN were dissolved, and KEMA was privatized.
De reorganisatie van de elektriciteitssector kreeg, mede door Europese regelgeving, een nieuwe component: liberalisering. In 1998 werd de Derde Elektriciteitswet aangenomen. In een aantal stappen werd de markt vrijgemaakt: eerst voor grote bedrijven, vervolgens voor kleine bedrijven en tenslotte (2004) voor particulieren. Dankzij het nationale en Europese koppelnet (oorspronkelijk aangelegd voor bedrijfszekerheid) kan elektriciteit overal vandaan komen. Buitenlandse levering heeft dan ook de forse groei van het Nederlandse elektriciteitsverbruik van die jaren mogelijk gemaakt, zonder dat het in Nederland opgestelde productievermogen evenredig toenam. | The reorganization of the electricity sector gained a new component due to European regulations: liberalization. In 1998, the Third Electricity Act was adopted. The market was opened up in several steps: first for large companies, then for small companies, and finally (in 2004) for individuals. Thanks to the national and European grid (originally established for reliability), electricity can come from anywhere. Foreign supply has thus made the significant growth in Dutch electricity consumption during those years possible, without a proportional increase in the production capacity installed in the Netherlands. | of the old electricity companies, the existing consultation infrastructure also came to an end: SEP, VEEN, VDEN, and GKN were dissolved, and KEMA was privatized. Liberalization of the energy market
De overheid was van mening dat met het oog op het bevorderen van de eerlijke concurrentie en het behoud van de kwaliteit van de infrastructuur de netten niet in handen mochten blijven van de partijen die op commerciële basis in elektrische energie handelen. Dit leidde tot de vooralsnog laatste stap in de reorganisatie van de elektriciteitssector: de Wet Onafhankelijk Netbeheer in 2006, de zogenaamde Splitsingswet. Beheerders van de netten moesten concurrerende aanbieders van energie toelaten en onafhankelijk zijn van de energieleveranciers. De Splitsingswet moest voorkomen dat er te weinig wordt geïnvesteerd in de energienetten als gevolg van commerciële risico’s die leveranciers van energie nemen. De energiebedrijven werden volgens de Splitsingswet opgedeeld in commerciële productie- en leveringsbedrijven (PLB’s) en in netwerkbedrijven (NWB’s) die de netten met spanningen tot 110 kV in handen hebben. De netwerkbedrijven waren eigendom van provincies en gemeenten en zullen in overheidshanden blijven. De Landelijk Netwerk Beheerder (LNB) TenneT kreeg de verantwoordelijkheid voor het landelijk transportnet van 110 kV en hoger. Anno 2011 zijn alle netwerkbedrijven verzelfstandigd. Met de voltooiing van de reorganisaties is de sector voorbereid voor de toekomst. | The government believed that, in order to promote fair competition and maintain the quality of the infrastructure, the grids should not remain in the hands of parties that trade in electrical energy on a commercial basis. This led to the latest step in the reorganization of the electricity sector: the Independent Network Management Act in 2006, also known as the Splitting Act. Grid operators were required to allow competing energy providers and be independent of energy suppliers. The Splitting Act aimed to prevent underinvestment in energy grids due to the commercial risks taken by energy suppliers. According to the Splitting Act, energy companies were divided into commercial production and supply companies (PLBs) and network companies (NWBs) that manage the grids with voltages up to 110 kV. The network companies were owned by provinces and municipalities and will remain in government hands. The National Network Operator (LNB) TenneT was given responsibility for the national transmission network of 110 kV and higher. As of 2011, all network companies have been privatized. With the completion of the reorganizations, the sector is prepared for the future. | from anywhere. Foreign supply has thus made the significant growth in Dutch electricity consumption during those years possible, without a proportional increase in the production capacity installed in the Netherlands.
Ontwikkelingen | Ontwikkelingen | national transmission network of 110 kV and higher. As of 2011, all network companies have been privatized. With the completion of the reorganizations, the sector is prepared for the future.
De verwachting is dat de groei van het elektriciteitsverbruik voorlopig gewoon doorgaat, waarbij het toegenomen vermogen al dan niet duurzaam wordt opgewekt. Producenten in binnen- en buitenland zullen graag aan de vraag willen voldoen. De Europese transportnetten zullen moeten worden aangepast aan de grote vermogenstransporten die een gevolg zijn van de grotere transportvolumes. Door de bouw van enkele grote centrales in Nederland wordt ons land een netto exporteur. | The expectation is that the growth in electricity consumption will continue for the time being, with the increased capacity being generated either sustainably or not. Producers both domestically and abroad will be eager to meet the demand. The European transmission networks will need to be adjusted to accommodate the large power transfers resulting from the increased transport volumes. Due to the construction of several large power plants in the Netherlands, our country will become a net exporter. | transmission network of 110 kV and higher. As of 2011, all network companies have been privatized. With the completion of the reorganizations, the sector is prepared for the future. Ontwikkelingen
Voor de distributienetten is het garanderen van de leverbetrouwbaarheid bij de inpassing van duurzame energie en decentrale opwekking de belangrijkste uitdaging. Ontwikkelingen op het gebied van warmtepompen en elektrisch rijden stellen zware eisen aan de distributienetten, waardoor investeringen noodzakelijk blijven. Mede door de ontwikkelingen op het gebied van de ‘intelligente netten’ verwacht men dat de komende decennia ingrijpende veranderingen in de distributienetten zullen plaatsvinden. Daarom bestaat er een groeiende interesse naar studies in deze netten. | For the distribution networks, ensuring supply reliability when integrating sustainable energy and decentralized generation is the main challenge. Developments in the fields of heat pumps and electric vehicles place heavy demands on the distribution networks, making investments necessary. Due to advancements in the area of 'smart grids,' significant changes in the distribution networks are expected in the coming decades. Therefore, there is a growing interest in studies related to these networks. | accommodate the large power transfers resulting from the increased transport volumes. Due to the construction of several large power plants in the Netherlands, our country will become a net exporter.